## Worksheet 1
| Online measures |  |  | Offline measures
Instrument | GC-FID | GC-FID | PTR-QMS | DNPH cartridges – | Solid adsorbent –
| ChromaTrap | AirmoVOC | scan mode | chemical desorption | adsorption/thermal
|  |  | (33–137 amu) | (acetonitrile) – | desorption –
|  |  |  | HPLC-UV | GC-FID
Time resolution (min) | 30 | 30 | 10 | 180 | 180
Number of samples | 1282 | 1321 | 3879 | 207 | 211
Temporal coverage (%) | 94 | 97 | 93 | 88 | 90
Detection limit (ppt) | 8–104 | 7–17 | 11–203 | 6–27
Uncertainties U(X)X (%) | 39 (14–73) | 36 (18–53) | 22 (18–44) | (11–37) | (3–26)
mean (min–max) (%)
Calibrated species |  |  |  |  | 6 C6–C11 n-aldehydes
| 9 C2–C5a | 9 C6–C10b | 11 mass c | 10 C1–C6 | 15 C5–C16 alkanes
| VOCs | VOCs |  | OVOCs | 9 C6–C9 aromatics
9 monoterpenes
Reference | Gros et | Xiang et | Blake et al. (2009), | Detournay (2011), | Detournay (2011),
| al. (2011) | al. (2012) | de Gouw and Warneke (2007), | Detournay et al. (2013) | Detournay et al. (2011),
|  |  | Taipale et al. (2008) |  | Ait-Helal et al. (2014)