## Worksheet 1
| Si optical window | QCM
Reactor temperature Tr (K) | 320
Reactor volume Vr (cm−3) | 2350
Conversion factor (1∕RT) Conv (molec cm−3 Torr−1) with R= 62 398 (Torr cm3 mol−1 K−1) | 3.0×10161
Sample surface area (cm2) | 0.78 | 0.5
H2O collision frequency with ice sample ωH2O (s−1) | 5.08 | 3.26
H2O effusion rate constant of calibrated leak kesc(H2O) (s−1) | 0.064
MS calibration factor for H2O (m/z=18, stirred flow) C18s-Flow (molec s−1 A−1) | 2.4×1024
MS calibration factor for H2O (m/z=18, dynamic) C18dyn (molec s−1 A−1) | 1.7×1025
HCl collision frequency with ice sample ωHCl (s−1) | 3.59 | 2.31
HCl effusion rate constant of calibrated leak kesc(HCl) (s−1) | 0.047
MS calibration factor for HC1 (m/z=36, stirred flow) C36s-Flow (molec s−1 A−1) | 3.9×1024
MS calibration factor for HC1 (m/z=36, dynamic) C36dyn (molec s−1 A−1) | 6.3×1024
Calculated escape orifice area Aesc (mm2) | 1
| d=104 Å or 1.0 µm | Calibration factor
for O.D. = 1.082
at 3260 cm−1
|  | Temperature (K) | ratio3
|  | 170 | 9
|  | 180 | 8
|  | 190 | 7.8
|  | 193 | 6
|  | 205 | 2
|  | 208 | 1.9