## Worksheet 1
| Instrument | Period | Class | Maximum error(daily integral) | Reference | Class | Comments | Resolution
1 | Gorczyski Solarimeter | 1953–1959 | second | 5 % | Coulson(1975) | B | one instrument being used | 1 h
2 | Eppley 180∘ pyranometer(no. 3604) | 1960–1966 | second | 5 % | Coulson(1975),Drummond(1965) | B | manual measurements archiving with a voltmeter | 1 h
3 | Eppley 180∘ pyranometer(no. 3604)coupled with a Leeds & Northup recorder, Speedomax, type G | 1966–1968 | second | 5 % | Coulson(1975),Drummond(1965) | B | same instrument as no. 2 with Speedomax recorder | 1 h
4 | Eppley 180∘ pyranometer(no. 3034) coupled with a Leeds & Northup recorder, Speedomax, type G | 1968–1973 | second | 5 % | Coulson(1975),Drummond(1965) | B | new instrument, same recorder | 1 h
5 | Eppley pyranometer,type 8-48 and type 8-48A coupled with a Leeds & Northup recorder, Speedomax, type G | 1974–1986 | second | 3–5 % | Hulstrom(1989) | B | type 8-48 and type 8-48A instruments measured alternatively for 3 years each | 1 h
6 | Eppley Precision Spectral Pyranometer (PSP) | 1986–now | first | 1–2 % | Hulstrom(1989) | A | regular recalibration; coupled with an A/D recorder (Campbell Scientific Ltd.) data logger, type CR-21X during 1986–2003; CR-10X during 2003–2012 | 1 min