## Worksheet 1
| isopiestic method | nonisopiestic method | physisorption analyzer | katharometer
(1) working principle | measure water vapor | measure water vapor | measure water vapor change | measure water vapor change
| pressure of a solution | pressure of a solution | when exposure to particles | when exposure to particles
(2) sample status | bulk solution | bulk solution | particles deposited on substrates | particles deposited on substrates
(3) size range | not applicable | not applicable | not applicable | not applicable
(4) supersaturated samples | No | No | No | Yes
(5) nonspherical particles | Yes | Yes | Yes | Yes
(6) water adsorption | No | No | Yes | No
(7) ambient application | No | No | Yes (offline) | Yes (offline)
| analytical balance | thermogravimetric analysis | QCM | optical microscopy
(1) working principle | measure sample mass | measure sample mass | measure sample mass | monitor particle morphology
| at different RH | at different RH | at different RH | at different RH
(2) sample status | particles deposited | particles deposited | particles deposited | particles deposited
| on substrates | on substrates | on substrates | on substrates
(3) size range | not applicable | not applicable | not applicable | > 1 µm
(4) supersaturated samples | No | No | No | Yes
(5) nonspherical particles | Yes | Yes | Yes | No
(6) water adsorption | No | Yes | Yes | No
(7) ambient application | Yes (offline) | Yes (offline) | Yes (offline) | Yes (offline)
| electron microscopy | AFM | X-ray microscopy | FTIR spectroscopy
(1) working principle | monitor particle morphology | monitor particle morphology | monitor particle morphology | monitor IR spectra of the
| at different RH | at different RH | at different RH | sample at different RH
(2) sample status | particles deposited | particles deposited | particles deposited | particles deposited
| on substrates | on substrates | on substrates | on substrates
(3) size range | > 10 nm | > 10 nm | > 200 nm | not applicable
(4) supersaturated samples | Yes | Yes | Yes | Yes
(5) nonspherical particles | No | No | No | Yes
(6) water adsorption | No | No | No | Yes
(7)ambient application | Yes (offline) | Yes (offline) | Yes (offline) | Yes (offline)
| Raman spectroscopy | EDB | optical levitation | acoustic levitation
(1) working principle | monitor Raman spectra of | measure the mass of levitated particles | measure diameters of levitated | measure diameters of levitated
| the sample at different RH | as different RH | particles as different RH | particles as different RH
(2) sample status | particles deposited on substrates | levitated particles | levitated particles | levitated particles
(3) size range | not applicable | a few to tens µm | one to tens µm | > 20 µm
(4) supersaturated samples | Yes | Yes | Yes | Yes
(5) nonspherical particles | Yes | Yes | No | No
(6) water adsorption | No | No | No | No
(7) ambient application | Yes (offline) | No | No | No
| H-TDMA | light extinction | light scattering
(1) working principle | measure aerosol diameters | measure aerosol light extinction | measure aerosol light scattering
| at different RH | at different RH | properties at different RH
(2) sample status | aerosol particles | aerosol particles | aerosol particles
(3) size range |  | a few nm to a few µm | a few nm to a few µm
(4) RH lower than DRH | Yes | Yes | Yes
(5) nonspherical particles | No | No | No
(6) water adsorption | No | No | No
(7) ambient application | Yes (online) | Yes (online) | Yes (online)