## Worksheet 1
Instrument | Manufacturer, model, and country | Measurement*
Soot particle aerosol mass | Aerodyne Research Inc., USA | Real-time measurements of
spectrometer (SP-AMS) |  | particle composition.
Proton-transfer-reaction time-of-flight mass | IONICON Analytik, PTR-TOF 8000, Austria | Real-time measurements of
spectrometer (PTR-ToF-MS) |  | gas-phase compounds.
Acetate-chemical ionization time-of-flight mass | Aerodyne Research Inc., USA | Real-time measurements of acidic
spectrometer (acetate-ToF-CIMS) |  | gas-phase compounds.
Trace-level chemiluminescence | Thermo 42i-TL, USA | Continuous monitoring of NO, NO2,
NO-NO2-NOx |  | and NOx concentrations.
UV photometric ozone analyzer | Thermo 49i, USA | Continuous monitoring of O3 concentration.
Trace-level pulsed fluorescence SO2 analyzer | Thermo 43i, USA | Continuous monitoring of SO2 concentration.
Fourier transform infrared | Gasmet, Finland | Continuous measurements of CO2, CO,
spectroscopy (FTIR) |  | and THC concentrations from raw,
undiluted exhaust.
Scanning mobility particle sizer (SMPS) | TSI, 3081 DMA + C3775 CPC, USA | Particle size distributions.
Temperature and humidity probe | Vaisala HMP60, Finland | Monitoring of relative humidity
and temperature.
Carbon dioxide sensor | Vaisala GMP343, Finland | Measurement of concentration of CO2.
Flame ionization detector | Siemens FIDAMAT 6, Germany | Measurement of total number of carbon
to adjust VOC-to-NOx ratio prior
to photochemistry period.