## Worksheet 1
ID | Instrument | Description | Mobile? | Reference | Cellulose type |  |  | Investigable T range | Investigated T range for this study | SSA(m2 g−1)12
[5 empty] | MCC | FC | NCC
1 | AIDA11 | CECC | No | Möhler et al. (2003); | x | x | x | −100 ∘C | MCC: −31 ∘C | MCC (poly): 3.35
|  |  |  | Niemand et al. (2012) |  |  |  |  | FC: −29 ∘C | FC (poly): 3.35
[9 empty] | NCC: −33 ∘C | NCC (poly): 18.59
2 | CSU-CFDC | Cylindrical-walled CFDC | Yes | DeMott et al. (2015) | x | x | x | −34 ∘C | MCC: −30 ∘C | MCC (poly): 2.09
[9 empty] | FC: −25 ∘C | MCC/FC (500 nm): 8.00
[9 empty] | NCC: −29 ∘C | NCC (600 nm): 6.67
3 | DFPC-ISAC | Substrate-supported | No | Santachiara et al. (2010); | x | x |  | −22 ∘C | MCC: −22 ∘C | MCC (poly): 0.71–4.59
|  | diffusion cell |  | Belosi et al. (2014) |  |  |  |  | FC: −22 ∘C | FC (poly): 0.81–4.95
4 | EDB11 | Electrodynamic balance | No | Hoffmann et al. (2013a, b) | x |  |  | −40 ∘C | MCC: −32 ∘C | MCC (320 nm): 7.4
|  | levitator | [7 empty] | MCC (800 nm): 1.3
5 | FRIDGE_default1,11 | Substrate-supported | Yes | Schrod et al. (2016) | x |  |  | −30 ∘C | MCC: −30 ∘C | MCC (poly): 1.82
diffusion cell
6 | INKA11 | Cylindrical plates CFDC | No | Schiebel (2017) | x |  |  | −60 ∘C | MCC: −32 ∘C | MCC (poly): 3.35
7a | LACIS_dry2,11 | Laminar flow tube | No | Hartmann et al. (2011); | x |  |  | −40 ∘C | MCC: −36 ∘C | MCC (poly): 7.00
Wex et al. (2014)
7b | LACIS_wet3,11 | Laminar flow tube | No | Grawe et al. (2016) | x |  |  | −40 ∘C | MCC: −35 ∘C | MCC (700 nm): 5.70
8 | MRI-DCECC | Dynamic CECC | No | Tajiri et al. (2013); | x |  |  | −100 ∘C | MCC: −28 ∘C | MCC (poly): 1.36
Hiranuma et al. (2015a)
9 | PNNL-CIC | Parallel plates CFDC | Yes | Friedman et al. (2011) | X |  |  | −55 ∘C | MCC: −28 ∘C | MCC (600 nm): 6.67
10 | BINARY11 | Cold-stage-supported | No | Budke and Koop. (2015) | X | x | x | −30 ∘C | MCC: −27 ∘C | MCC (bulk): 0.068
|  | droplet assay | [6 empty] | FC: −29 ∘C | FC (bulk): 0.087
[9 empty] | NCC: −25 ∘C | NCC (bulk): 1.24
11 | CMU-CS5 | Cold-stage-supported | No | Polen et al. (2016); | X | x | x | −30 ∘C | MCC: −30 ∘C | MCC (bulk): 0.068
|  | droplet assay |  | Beydoun et al. (2017) |  |  |  |  | FC: −29 ∘C | FC (bulk): 0.087
[9 empty] | NCC: −25 ∘C | NCC (bulk): 1.24
12 | FRIDGE-CS11 | Cold-stage-supported | Yes | Hiranuma et al. (2015b) | x |  | x | −29 ∘C | MCC: −28 ∘C | MCC (poly): 1.717
|  | droplet assay | [6 empty] | NCC: −23 ∘C | NCC (bulk): 1.24
13 | Leeds-µL-NIPI | Nucleation by immersed | Yes | Whale et al., 2015 | x | x |  | −36 ∘C | MCC: −21 ∘C | MCC (bulk): 0.068
|  | particle instrument | [6 empty] | FC: −20 ∘C | FC (bulk): 0.087
14 | LINDA8 | Immersion mode ice | Yes | Stopelli et al. (2014) | x | x | x | −18 ∘C | MCC: −18 ∘C | MCC (bulk): 0.068
|  | spectrometer | [6 empty] | FC: −18 ∘C | FC (bulk): 0.087
[9 empty] | NCC: −11 ∘ C | NCC (bulk): 1.24
15 | M-AL11 | Acoustic droplet levitator | No | Diehl et al. (2014) | x | x | x | −30 ∘C | MCC: −21 ∘C | MCC (bulk): 0.068
[9 empty] | FC: −22 ∘C | FC (bulk): 0.087
[9 empty] | NCC: −24 ∘C | NCC (bulk): 1.24
16 | M-WT11 | Vertical wind tunnel | No | Szakáll et al. (2010); | x | x |  | −30 ∘C | MCC: −23 ∘C | MCC (bulk): 0.068
|  |  |  | Diehl et al. (2011) |  |  |  |  | FC: −24 ∘C | FC (bulk): 0.087
17 | NC State-CS | Cold-stage-supported | No | Wright and Petters (2013) | x | x | x | −40 ∘C | MCC: −24 ∘C | MCC (bulk): 0.068
|  | droplet assay | [6 empty] | FC: −24 ∘C | FC (bulk): 0.087
[9 empty] | NCC: −24 ∘C | NCC (bulk): 1.24
18a | NIPR-CRAFT | Cold-stage-supported | No | Tobo (2016) | x | x | x | −34 ∘C | MCC: −28 ∘C | MCC (bulk): 0.068
|  | droplet assay | [6 empty] | FC: −28 ∘C | FC (bulk): 0.087
[9 empty] | NCC: −31 ∘C | NCC (bulk): 1.24
18b | NIPR-CRAFT9_ | Cold-stage-supported | No | Tobo 2016 | x | x |  | −34 ∘C | MCC: −28 ∘C | MCC (
|  | droplet assay | [6 empty] | FC: −28 ∘C | FC (
19 | WISDOM | Microfluidic device- | No | Reicher et al. (2018) | x |  | x | −40 ∘C | MCC: −33 ∘C | MCC (bulk): 0.068
|  | supported droplet assay | [6 empty] | NCC: −35 ∘C | NCC (bulk): 1.24
20 | WT-CRAFT | Cold-stage-supported | No | Tobo (2016) | x | x |  | −34 ∘C | MCC: −26 ∘C | MCC (bulk): 0.068
|  | droplet assay | [6 empty] | FC: −26 ∘C | FC (bulk): 0.087