## Worksheet 1
AvaSpec-ULS2048x64
Spectral range | Spectral resolution | Optical fibers
300–550 nm | 0.65 nm | quartz fiber bundle
Type of application | elevation angle | field of view | typical exposure time | averaging time | dark signal | line shape
Car DOAS zenith-sky | 90∘ | approx. ±5∘ | 0.025 s | 5 s | before/after | HgCd lamp
Tower DOAS off-axis | 0∘ | approx. 1∘ (focused by lens) | 10 s | measurements