## Worksheet 1
Instrument | Measurements | Institute | References
Container 1
FAGE | OH (chem and wave)c, HO2, RO2 | Leeds | Whalley et al. (2010)
OH reactivity | OH reactivity | Leeds | Stone et al. (2016)
Spectral radiometer | Photolysis rates | Leeds | Bohn et al. (2016)
Filter radiometer | J(O1D) | Leeds | Bohn et al. (2016)
Dew point hygrometer | Water vapour | Leeds | Whalley et al. (2010)
Davis met station | Wind speed, direction, temp, RH, pressure | Leeds
Vaisala CL31 ALC ceilometera | Cloud-base height, mixing height, attenuated backscatter profiles | Reading | Kotthaus and Grimmond (2018a)
Personal air monitors (PAMS) | CO, NO, NO2, PM1, PM10, PM2.5 | Cambridge | Moore et al. (2016)
MicroPEMs | Personal PM exposure | IOM | Sloan et al. (2016)
Container 2
DC-GC-FID | C2–C7 VOCs and oVOCs | York | Hopkins et al. (2011)
GCxGC FID | C6–C13 VOCs and oVOCs | York | Dunmore et al. (2015)
TEI 42i | NO | Birmingham
Teledyne CAPS | NO2 | York
TEI 42c | Total NOy | York
TEI 49i | O3 | York
TEI 43i | SO2 | York
Sensor box | CO | York | Smith et al. (2017)
BBCEAS | HONO, NO3, N2O5 | Cambridge | Le Breton et al. (2014)
Container 3
LOPAP | HONO | Birmingham | Crilley et al. (2016)
LIF HCHO | HCHO | Leeds | Cryer et al. (2016)
LOPAP | HONO | IC-CAS | Zhang et al. (2019)
GC-MS | Organic nitrates | East Anglia | Mills et al. (2016)
ROS online analyser | Reactive oxygen species | Cambridge | Wragg et al. (2016)
Container 4b
FAGE | OH (wave)c, HO2 | Peking | Lu et al. (2012)
FAGE | OH (chem)c | Peking | Tan et al. (2017)
TEI 42i | NO | Peking | Tan et al. (2017)
Teledyne CAPS | NO2 | Peking
TEI 42c with Moly converter | NO2 | Peking
TEI 49i | O3 | Peking
TEI | CO | Peking
Spectral radiometer | Photolysis rates | Peking
GC-ECD | PAN | Peking | Zhang et al. (2011)
GC-MS | VOCs | Peking | M. Wang et al. (2015)
Container 5b
H-TDMA/V-TDMA | Hygroscopicity/volatility | Peking | Wu et al. (2013)
SMPS+APS | Particle number size distribution | Peking | Wu et al. (2016)
Particle size magnifier | Size distribution of | Peking | Vanhanen et al. (2011)
IGAC-IC | Water-soluble ions | Peking | Yu et al. (2018)
Xact | Metal | Peking | Yu et al. (2018)
Sunset OC∕EC | EC∕OC | Peking | Y. Zhang et al. (2017)
Container 6
IBBCEAS | HONO, NO2 | AIOFM | Duan et al. (2018)
CRDS | NO3 and N2O5 | AIOFM | Li et al. (2018)
Nitrate Api-ToF-CIMS | Organics, clusters (HOMs) | Birmingham | Junninen et al. (2010)
SMPS | Particle size distribution | Birmingham | Shi et al. (1999)
Particle size magnifier | Size distribution of | Birmingham | Vanhanen et al. (2011)
Container 7
Fast NOx | NOx fluxes | York | Vaughan et al. (2016)
AL5002 CO analyser | CO fluxes | York | Gerbig et al. (1999)
HR-ToF-AMS | Fluxes of PM1 non-refractory (NR) species | CEH | Nemitz et al. (2008)
SP2 | BC fluxes | Manchester | Liu et al. (2017)
PTR-ToF-MS | VOC fluxes | GIG Lancaster | Huang et al. (2016)
SYFT-MS Voice 200 Ultra | VOC fluxes | York | Storer et al. (2014)
Container 8
SMPS3968-APS3321 | Particle number size distribution | BNU | Du et al. (2017)
H/V TDMA | Particle hygroscopicity | BNU | Y. Wang et al. (2017)
CCNC-100 | CCN | BNU | Y. Wang et al. (2017)
PAX (870 nm) | Extinction and absorption coefficients | IAP | Xie et al. (2019)
Ammonia analyser | NH3 | IAP | Meng et al. (2018)
Sunset OC∕EC analyser | Online OC∕EC | IAP | Y. Zhang et al. (2017)
Container 9
Iodide FIGAERO-ToF-CIMS | Particle- and gas-phase molar molecule | Manchester | Le Breton et al. (2018)
CPMA-SP2 | Black carbon mass and mixing state | Manchester | Liu et al. (2017)
Micro-reactor | oVOCs | York | Pang et al. (2014)
Tower ∼100 m
QCL NH3 | Ammonia fluxes | CEH | McManus et al. (2010)
IRGA LiCOR-7500 | CO2∕H2O flux | CEH | McDermitt et al. (2011)
DMT UHSAS | Size-resolved particle flux (0.06–1 µm) | CEH | Deventer et al. (2015)
TSI APS3021 | Size-resolved particle flux (0.5–25 µm) | CEH | Nemitz et al. (2002)
TSI CPC3785 | Total particle number flux | CEH | Petäjä et al. (2006)
ROFI | O3 flux | CEH | Coyle et al. (2009)
Sonic anemometer R3-50 | Turbulence, sensible heat flux | CEH | Högström and Smedman (2004)
WXT530 weather station | T, P, RH, wind speed and direction, precipitation | CEH
2B O3 analyser | O3 concentration | CEH | Johnson et al. (2014)
Tower ∼120 m
High-volume sampler | PM2.5 filter samples | IAP
Anderson sampler | Size-resolved PM samples | IAP
Tower ∼260 m
High-volume sampler | PM2.5 filter samples | IAP
Anderson sampler | Size-resolved PM samples | IAP
ACSM | NR PM1 species | IAP | Sun et al. (2012)
CAPS-PM-Ext (630 nm) | Extinction | IAP | Q. Wang et al. (2015)
SMPS 3938 | Particle number size distribution | IAP | Du et al. (2017)
Gas analyser | CO, O3 and SO2 | IAP | Zhou et al. (2018)
Aethalometer AE33 | Black carbon | IAP | Xie et al. (2019)
Single particle sampler | Individual particles | CUMTB | W. Wang et al. (2018)
Tower and tower basket measurements
SNAQ boxes (×6 at different heights) | CO, NO, NO2, SO2, PM1, PM10, PM2.5 | Cambridge | Popoola et al. (2018)
LOPAP | HONO (3 min average) | Birmingham | Crilley et al. (2016)
Spectral radiometer | Photolysis rates | Leeds | Bohn et al. (2016)
SNAQ | CO, NO, NO2, SO2, PM1, PM10, PM2.5 | Cambridge | Popoola et al. (2018)
WIBS | Fluorescent biological aerosol particles (FBAPs) | IAP | Yue et al. (2016)
AE33 | BC | IAP | Xie et al. (2019)
Los Gatos NH3 analyser | NH3 | IAP | Meng et al. (2018)
PAX | Light scattering/absorption | IAP | Xie et al. (2019)
IAP ground
High-volume sampler | PM2.5 filter samples | Peking
Four-channel sampler | PM2.5 filter samples | Peking
High-volume sampler | High-time-resolution PM2.5 filter samples | York
FDMS+Thermo Scientific 1405-DF | Online PM2.5 mass concentration | IAP
IAP roof/lab
Partisol sampler | PM2.5 + PM2.5−10 | Birmingham | Taiwo et al. (2014)
Streaker sampler | Hourly elements in PM2.5 and PM2.5−10 | Birmingham | Taiwo et al. (2014)
Digitel high-volume | PM2.5 daily | IAP
Digitel high-volume | PM1 – 3-hourly | IAP
Andersen sampler | Size-resolved PM | IAP
WIBS | Fluorescent biological particles | IAP | Yue et al. (2016)
CAPS-NO2 | NO2 | IAP | Ge et al. (2013)
Aethalometer AE33 | Black carbon | IAP | Xie et al. (2019)
CAPS-PMSSA (630 nm) | Extinction, scattering | IAP | Han et al. (2017)
HR-ToF-AMS | NR-PM species | IAP | Sun et al. (2016)
SP-AMS | Refractory BC and coated aerosol composition |  | J. Wang et al. (2017)
Iodide FIGAERO- ToF-CIMS | Particle- and gas-phase molar molecule | IAP | Zhou et al. (2018)
Single particle sampler | Individual particles | CUMTB | Wang et al. (2018)