## Worksheet 1
Instrument (platform) | Primary measurement | Temporal resolution
SP2 (P3) | Black carbon mass per particle, 90–500 nm | Particle by particle
Time-of-flight (ToF) Aerodyne aerosol mass spectrometer (AMS) (P3) | Non-refractory aerosol composition (∼50 to 500 nm vacuum aerodynamic diameter) | 5 s
UHSAS, ultra-high-sensitivity aerosol spectrometer (P3) | Number size distribution for dry particle diameters between 60 and 1000 nm | 1 s
Nephelometer (P3) | Submicron dry particle scattering coefficient at 450, 550, 700 nm | 6 s
PSAP, particle soot absorption photometer (P3) | Submicron dry particle light absorption at 470, 530 and 660 nm | 1–60 s depending on concentration
4STAR, an airborne Sun/sky photometer (P3) | Hyperspectral direct solar beam transmittance, AOD; values at 550 nm | 1 s
HSRL-2, the NASA Langley second-generation airborne High Spectral Resolution Lidar (ER2) | Aerosol backscattering and extinction coefficients, values at 532 nm | 10 s for aerosol backscatter coefficient and 60 s for aerosol extinction coefficient
CO/CO2/H2O analyzer (P3) | Carbon monoxide | 1 s