## Worksheet 1
Approach |  | Time resolution | Temporal coverage | Eabs determination | Instruments | Advantages | Limitations
TD |  | minutes | weeks | Eabs=σabs_totalσabs_pri | TD + PAS | very high time resolution | TD temperature selection is tricky; denuded particle morphology different from emission
AFD |  | daily | years |  | filter sampler + offline OC/EC analyzer | can be applied on archived filter samples | labor intensive; only remove soluble coating; low time resolution
MAE | MAE + MRS | hourly | years | Eabs=MAEtMAEp | Aeth + online OC/EC analyzer | high time resolution | MRS has minimum data points requirement, not suitable for a small dataset
| MAE + empirical | hourly | months |  | Aeth + online OC/EC analyzer |  | empirical MAEp could be unrealistic for the sampling site
| MAE + SP | hourly | weeks |  | PAS/Aeth +SP2/SP-AMS |  | expensive instruments; limited sampling duration