## Worksheet 1
Aerosol parameters | Symbol | λ (nm) | Method
Aerosol microphysical properties
Total number concentration | Ntot | – | Measured by a CPC in the particle diameter range above 5 nm
Number concentration in the coarse mode | Ncoarse | – | GRIMM size distributions integrated on the range 1 to 5 µm.
Number concentration in the fine mode | Nfine | – | Difference Ntot and Ncoarse.
Number size distribution | dN∕dlog Dp | – | dN/dlogDp=Σi=14Ntot,iexp-logDp-logDp,g,i2/ 2logσi/√2logσi with Ntot,i the integrated number concentration, Dp,g,i the geometric median diameter and σi geometric standard deviation for each mode i
Volume size distribution | dV∕dlog Dp | – | dV/dlogDp=Σi=14Ntot,iDp3π/6exp-logDp-logDp,g,i2/ 2logσi/√2logσi
Aerosol optical properties
Scattering coefficient | σscat | 450, 550, 635 | Measured by the integrating nephelometer and corrected for truncator error
Absorption coefficient | σabs | 467, 520, 660 | Measured by the PSAP and corrected for filter-based artefacts
Extinction coefficient | σext | 530 | Measured by the CAPS-PMex
Scattering Ångström exponent | SAE | 450 to 700 | Calculated from the integrating nephelometer measurements: SAE =-lnσscat(450)/σscat(700)/ln(450/700)
Absorption Ångström exponent | AAE | 440 to 660 | Calculated from the PSAP measurements: AAE =-lnσabs(467)/σabs(660)/ln(467/660)
Complex refractive index | n | 450, 550, 660 | Inversion closure study using Mie theory (Fig. A1) m(λ)=n(λ)-ik(λ)
Single scattering albedo | SSA | 450, 550, 660 | Inversion closure study using Mie theory (Fig. A1) SSA (λ)=σscat(λ)/σext(λ)
Mass extinction efficiency | MEE | 450, 550, 660 | Inversion closure study using Mie theory (Fig. A1) MEE (λ)=σext(λ)/Cm with Cm the aerosol mass concentration
Asymmetry parameter | g | 450, 550, 660 | Inversion closure study using Mie theory (Fig. A1) g(λ)=1/2∫0πcos(Θ)sin(Θ)P(Θ,λ)d(Θ) with P(Θ,λ) the scattering phase function and Θ the scattering angle.