## Worksheet 1
Instrument | Facility | Details | Comment
Aerosol microphysics
DMT-SPP200 PCASP-100X | FAAM | 0.10–3 µm size distribution | Wing-mounted
TSI 3786 Condensation Particle Counter (CPC) | FAAM | Total number, size > 3 nm.
Scanning Mobility Particle Sizer (SMPS) | UoM | 20–350 nm size distribution
DMT CCN-200 Dual Channel Condensation | FAAM | Continuous flow CCN at 2 supersaturations
Nuclei Counter (CCN)
CVI PCASP | Met O | 0.10–3 µm size distribution | Brechtel inlet
CVI TSI 3025 CPC | Met O | Total number of residual particles > 3 nm. | Brechtel inlet
DMT-SPP 200 PCASP-100X | Met O | 0.10–3 µm size distribution | EXSCALABAR (cabin)
Brechtel Counterflow Virtual Impactor (CVI) | Met O/NCAS | Aerosol residual chemical composition | Brechtel Inlet
DMT UHSAS Ultra-High Sensitivity Aerosol | UoM | 50–1000 nm size distribution | Brechtel inlet
Spectrometer
TSI 3321 Aerosol Particle Sizer (APS) | UoM | 0.5–20 µm size distribution | Brechtel inlet
GRIMM Optical Particle Counter | UoM | 0.25–32 µm size distribution | Brechtel inlet
Aerosol composition and optical properties
Compact Time-of-Flight Aerosol Mass | UoM | 50–700 nm non-refractory size-resolved aerodynamic diam.
Spectrometer (ToF-AMS)
Single Particle Soot Photometer (SP2) | UoM | Single-particle soot detection by laser-induced incandescence
Filters | UoM | Sub- and supermicron nucleopore
TSI 3563 Nephelometer | FAAM | Scattering coefficient at 450, 550, and 700 nm.
Radiance Research Particle Soot Absorption | FAAM | Absorption coefficient at 530 nm.
Photometer (PSAP)
EXSCALABAR photo-acoustic spectrometer | Met O | Dry absorption coefficient at 405, 514, and 658 nm, thermally | EXSCALABAR PAS,
(PAS) |  | denuded at 405 and 658 nm | CRDS, PCASP, and TAP
EXSCALABAR cavity ring-down | Met O | Dry extinction coefficient at 405 and 658 nm. 75 % and 90 % RH | 1.3 µm diameter
spectrometer (CRDS) |  | extinction coefficient at 405 nm. | impactor applied to
EXSCALABAR Tri-Absorption Photometer | Met O | Dry absorption coefficient at 467, 528, and 652 nm. | remove coarse aerosol.
(TAP)
Cloud physics
DMT Cloud Droplet Probe | FAAM | 2–50 µm size distribution, 1 Hz, polarization | Wing-mounted
(CDP-2) & BCPOL
DMT Clouds aerosol and precipitation probe | UoM | 0.5–960 µm size distribution 1 Hz | Wing-mounted
(CAPS CIP-15, CAS)
SPEC 2D-S cloud-drizzle spectrometer (2D-S) | UoM | 10–128 000 µm size distribution, 100 Hz | Wing-mounted
SPEC FCDP/FFSSP (ultra-fast cloud droplet | UoM | 1–60 µm size distribution, 50 Hz | Wing-mounted
spectrometer)
Cloud Imaging Probe-15: CIP-15 | FAAM | 15–960 µm size distribution, 1 Hz | Wing-mounted
Cloud Imaging Probe-100: CIP-100 | FAAM | 100–6400 µm size distribution. | Wing-mounted
Nevzorov hot wire probe | FAAM | Liquid and total water content (LWC and TWC)
SEA hot wire probe | FAAM | Liquid and total water content (LWC and TWC)
Radiation/remote sensing
Leosphere lidar – EZALS450 | Met O | 355 nm UV backscattering lidar with depolarization
Eppley broadband radiometers (BBRs) | Met O | Upper and lower (0.3–3.0 µm) and (0.3–0.7 µm) fluxes. | Broadband
Shortwave Spectrometer (SWS) | Met O | Resolved radiances 300–1700 nm at 3–6 nm resolution. | Pointable
Shortwave Hemispheric Integrating | Met O | Resolved irradiances 300–1700 nm at 3–6 nm resolution.
Measurement System (SHIMS)
MARRS | Met O | 89 and 157 GHz for liquid water path retrievals
Trace gas chemistry
Aero-Laser AL5002 | FAAM | CO | ±2.8 ppb @ 1 Hz
Teco 49 | FAAM | O3 by UV photometry | Sens 1 ppb @ 60 s
Los Gatos Research Inc Fast Greenhouse Gas Analyser | FAAM | CO2 and CH4 | ±1.28 ppb/0.17 ppm @ 1 Hz
TEi43C | FAAM | SO2 | ±0.1 ppb @ 60 s
Thermodynamics
Rosemount Temperature Sensors | FAAM | True air temperature 32 Hz | De-iced, non-deiced housing
Chilled Mirror dew point hygrometer | FAAM | Dew point ∼1 Hz
Total water probe | Met O | Total water content, 64 Hz
WVSS-II: water vapour | Met O | Water vapour content, 0.4 Hz
Dropsonde systems | FAAM | Profile of temperature, humidity, wind
AIMMS | Met O | 3-D winds, 20 Hz
Turbulence probe | FAAM | 3-D winds, 32 Hz