## Worksheet 1
Instrument | Measurement
Condensation particle counter (CPC) | Total aerosol concentration >10 nm
Fast-integrated mobility spectrometer (FIMS) | Aerosol size distribution, 0.01 to 0.5 µm
Fast-cloud droplet probe (FCDP) | Cloud particle size distribution 2 to 50 µm
High-resolution time-of-flight aerosol mass spectrometer (HR-ToF-AMS) | Non-refractory aerosol composition
Multi-element water content system (WCM) | Liquid water content
Particle in liquid sampler (PILS) | Water-soluble aerosol composition
Single-particle soot photometer (SP2) | Soot spectrometry
Trace gas monitors | Concentrations of CO and O3
Thermal denuder | Sampling of non-volatile component of aerosol particles
Ultrafine condensation particle counter (CPC) | Total aerosol concentration >3 nm