## Worksheet 1
Experiment | O3 concentration (ppbV) | OH exposurea (×1010 molecules cm−3 s) | Photochemical age (days,[OH] = 1.5 ×106 molecules cm−3) | External OH reactivity ofSO2 during offline calibration (s−1) | External OH reactivity of VOCs during experiment (s−1) | Ratio of OH Exposurecalculated by an estimatorb to that calculated by the decay of SO2a | Temperature and RH in Go:PAM | Basic description of Go:PAM | Wall Loss
GDI 20 km h−1 | 624 | 7.79 | 0.6 | 15.8 | 10.4 | 119 % | Temp: 19–22 ∘C. RH: 44 %–49 % | Volume: 7.9 L. Flowrate: 4 L min−1for sample air and 1 L min−1 for sheathgas. Residence time: 110 s. | The wall loss of particles was adjusted in each size bin measured by two synchronous SMPSs (two SMPSs run before and after Go:PAM, respectively). The wall loss of the gas phase is minor according to previous research.
| 2367 | 21.4 | 1.7
| 4433 | 37.4 | 2.9
| 6533 | 53.8 | 4.2
| 8050 | 65.6 | 5.1
| 8701 | 70.6 | 5.5
GDI 40 km h−1 | The same as the 20 km h−1 experiments |  |  |  | 20.2 | 83 %
GDI 60 km h−1 | The same as the 20 km h−1 experiments |  |  |  | 16.7 | 94 %