## Worksheet 1
Year of DobsonD051 anomaly | Technical issue/instrumentalchange | Homogenized period | Time range used forthe offset determination | Redundant datasets used forthe offset determination | Comment
1988 | D015 to D051 | Before 1 Jan 1988 | 1 Jan 1987–1 Jan 1988and1 Jan 1988–1 Jan 1989 | D015 and D051 simultaneous measurements | Instrumental change:Dobson D051 replaces Dobson D015.Adjustment of the dataset measured by D015 before 1988 to the dataset measured by D051 after 1988
2003 | Intercomparison and new RtoN tableNew RtoN tableconsidered | Before 19 Jul 2003 | 19 Jul 2001–19 Jul 2003and19 Jul 2003–19 Jul 2005 | D062 and D101 mean values | Adjustment of the optics during the IC.Remaining inhomogeneity despite the use of a new RtoN table
2010 | – | 1 Jan 2010–30 Jun 2010 | – | – | Does not correspond to any technical issue.Period limited to 6 month.Not corrected.
2011–2013 | New electronics(21 Mar 2011)New Q lever motors (15 Feb 2012)New software 3V3 (26 Mar 2013) | 1 Apr 2011–1 Apr 2013 | 1 Apr 2009–1 Apr 2011and1 Apr 2015–1 Apr 2017 | B040, B072 and B156 mean values | 2014 not considered (number of measurement low and problematic period).Refurbishment of the electronics (HV, motors, feedback loop, amplification board)and position of Q2 lever as function of the room temperature.Q lever motors are essential in the selection of the wavelengths.
2018 | New wedge steelband (6 May 2018)IC (7–17 Aug2018): adjustments on opticsArosa to Davos (28 Sep 2018) | Before 1 May 2018 | 1 May 2016–1 May 2018and1 May 2018–1 May 2020 | B040, B072 and B156 mean values | The optical attenuator consists of a moving neutral-density filter (the optical “wedge”) attached to a graduated rotating disc (R dial).The wavelength pair selection is achieved by rotating a pair of quartz plates (Q1 lever, Q2 lever) through which the light beam passes.