## Worksheet 1
Instrument | Parameter | Time resolution | Accuracy
CCN counter (model CCNc-200, DMT Inc.) | CCN number concentrations NCCN | 1 s | –
Nephelometer (model 3565, TSI Inc.) | Aerosol scattering coefficients (σ) at | 1 s | 0.5 Mm−1
three wavelengths (450, 550, and 700 nm)
CWIP (Rain Dynamics Inc.) | Temperature (T) | 1 s | 1 K
| Relative humidity (RH) | 1 s | 2 %
| Position | 0.1 s | –