## Worksheet 1
Instrument | Measurement | Uncertainty
LARGE HR-ToF-AMS | Chemically resolved non-refractory mass concentrations | up to 50 % based on
processing assumptions
LARGE SP2 | Mass concentrations of black carbon mass by | 10 %
laser-induced incandescence
LARGE optics | Three-wavelength scattering coefficient by integrated nephelometry, | 30 % for dry scattering,
| three-wavelength absorption coefficient by the particle soot | 15 % for dry absorption
absorption photometer (PSAP)
PILS | Mass concentrations of water-soluble aerosol | Not provided
chemical components
FIMS | Aerosol size spectrum in the mobility diameter | 10 % for total particle
| range of 10 to 600 nm | concentration
HSRL2 | Aerosol backscatter and extinction at 355, 532, and 1064 nm; | Not provided
mixed layer height
SPEC cloud probes | Cloud flag | Not provided
Vaisala RS41-SGP SONDE | Temperature and humidity profiles | 0.3 ∘C, 4 % RH