## Worksheet 1
Quantity/property measured | Method/instrument | Time resolution | Location
Meteorology
Ambient air temperature | Ventilated and shielded sensors (Pt-100) | 10 min | Rea hut (2 m)
| Rotronic RS12T/RS24T, HygroMet |  | Mast (125 m)
MP102H-530300, HygroClip2 (HC2-S3)
Ambient air pressure | Druck DPI 260 barometer | 1 min | Mast (0 m)
| Vaisala PTB210 barometer | 10 s | Mast (30 m)
| Metallic aneroid capsule capacitance, Vaisala PA-11 | 1 min | Field (2 m)
Relative humidity and | Vaisala dew point transmitter | 10 s | Field (1.5 m)
dew point temperature | Hygroclip2 probe |  | Tower (35 m)
| Rotronic humidity and temperature sensor MP102H | 5 s | Tower (35 m)
| Chilled mirror dew point monitor | 1 min | Tower (16 m)
and mast (23 m)
| EdgeTech Model 200M meteorological system | 1 min | Tower (35 m)
Wind speed and direction | Thies ultrasonic anemometer 2D | 1 min | Mast (8.4, 16.8, 33.6
and 67.2 m)
| Metek uSonic-3 anemometer | 0.1 s | Mast (67.2 and 125 m)
| Gill 3D sonic anemometer | 0.1 s | Field (1.5 m)
| Vaisala 2D sonic anemometer | 1 s | Field (3 m)
Precipitation | Vector ARG-100 tipping-bucket rain gauge | 1 s | Tower (35 m)
and catchment (2 m)
| Bucket weighing, OTT Pluvio2, 200 and 400 cm2 | 1 min | Field (1.5 and 4 m)
Surface precipitation and | Optical disdrometer, OTT Parsivel2 | 1 min | Field (4 m)
particle size distribution | 2D video disdrometer (particle video imaging) | 1 min | Field (4 m)
| Particle video imaging, PIP, NASA | 1 min | Field (1 m)
| Particle holographic imaging, SAKU III | 1 min | Field (2 m)
Snow depth | Manual measurements at seven locations | 7 d | Catchment
| Jenoptik SHM30 optical snow depth sensor | 1 min | Field