## Worksheet 1
Parameter | Instrument | Specifications | Time resolution | Measurement
Equivalent | microAethalometer | λ: 880 nm | 1 s | Mobile
black carbon | AE51, AethLabs | σ: 12.1 m2 g−1
(eBC) | Aethalometer | λ: 880 nm | 1 min | Stationary
| AE33, Magee Scientific | σ: 7.7 m2 g−1 |  | (reference, Retje and Tabor)
Inlet size cutoff:
PM2.5
CM8060: 1.39.
Particulate | Optical particle | Size range: | 10 s | Mobile
matter | size spectrometer OPSS | 0.3–10 µm.
(PM) | 3330, TSI
| Mobility particle size | Size range: | 5 min | Stationary
| spectrometer MPSS, | 0.01–0.8 µm and |  | (reference, Retje and Tabor)
| TROPOS ref. no. 1 and | 0.01–0.6 µm.
| TSI 3785 | Inlet size cutoff:
PM2.5.
| High-volume sampler, | PM10 | 12 h | Stationary
| Digitel DHA-80 |  | (06:00–18:00 LT) | (reference, Retje)