## Worksheet 1
Measurement | Instrument (manufacturer) | Notes
OA, NO3, SO4, NH4 masses, f44, f60, O, C, H, OC | HR-ToF-AMS (Aerodyne Inc.) | Chloride excluded;
BC mass, number | SP2 (DMT) | operated by HiGEAR in 2016, Arthur J. Sedlacek in 2017
Particle size distribution | LDMA (TSI 3071A) | 10–550 nm mobility diameter
Particle number concentration | CPC (TSI 3010) | diameter >10 nm
Aerosol absorption (470, 530, 660 nm) | PSAP (Radiance Research) | wavelength-averaged correction
Aerosol scattering (450, 550, 700 nm) | Nephelometer (TSI 3563) | correction
CO, CO2, O3 | Los Gatos Research