## Worksheet 1
Instrument | Advantages | Drawbacks
TD–DMA + NO3- CI–APi–TOF | – Size-resolved particle collection – Gas phase can be measured during particle collection and gas and particle intercomparison – Detection immediately after collection | – Resolution might depend on the particle load (collection time ∼ 3 and 5 h)a – Thermal fragmentation is possible
FIGAERO + I− HRToF-CIMS | – Gas phase can be measure during particle collection and gas and particle intercomparison – Detection immediately after collection – Time resolution of 30 min: semicontinuous | – Non-size-resolved particle collection – Resolution of 30 min: semicontinuous – Thermal fragmentation is possible
Na+ EESI-TOF | – Continuous measurement, 1 s time resolution – Gas phase can be measure using the dual configuration | – Non-size-resolved particle collection – Size-dependent sensitivity
FILTER UHPLC–HESI–HRMS method | – Differentiates between clusters and molecules (pre-separation makes sure that the compounds are not fragments) – Identifies isomersb using chromatography for separation | – Non-size-resolved particle collection – Resolution might depend on the particle load (collection time ∼ 17 h)a – Detection not immediately after collection, first stored – Possible aging, sampling artifacts