## Worksheet 1
Quantity | Instrument name/network | Location | Temporal/spectral resolution | Type | Reference
PM10, PM2.5 | Eberline, Thermo Fisher/GNAPMN∗ | GAA∗ | Daily | Beta gauge particulate monitor | Grivas et al. (2008)
NO, NO2 | Horiba Ltd./ GNAPMN | GAA | Hourly | APNA analyser | Grivas et al. (2008)
Scattering coefficient | TSI/NOA network | ASNOA∗ | 3 wavelengths (450, 550, 700 nm) | Nephelometer | Kaskaoutis et al. (2021)
Absorption coefficient | Magee/ NOA network | ASNOA | 1 min/7 wavelengths (370, 470, 520, 590, 660, 880, 950 nm) | Aethalometer | Drinovec et al. (2015), Liakakou et al. (2020)
Columnar NO2 | Pandora/Pandonia | ASNOA | 10–20 min | Spectral radiome- ter | Herman et al. (2009)
Columnar SO2 | Brewer/EuBrewNet | BRFAA∗ | – | Spectrophotometer | Kerr (2010)
AOD∗, Ångström exponent | Cimel/AERONET | NOA∗, PANGEA∗ | 15 min | Sun photometer | Giles et al. (2019)
Fine/coarse AOD | Cimel/AERONET | NOA, PANGEA | 500 nm | Sun photometer | O'Neill et al. (2003)
Single-scattering albedo | Cimel/AERONET | NOA, NTUA∗, PANGEA | 440, 675, 870, 1020 nm | Sun photometer | Dubovik and King (2000)
Volume size distribution | Cimel/AERONET | NOA | – | Sun photometer | Dubovik and King (2000)
Backscatter coefficient | Vaisala/E-PROFILE, PollyXT/EARLINET∗ | ASNOA PANGEA | 910 nm, 1064 nm | Ceilometer, Lidar | Kotthaus et al. (2016), Engelmann et al. (2016), Baars et al. (2016)
Spectral irradiance | PSR∗/NOA network | ASNOA | 300–1020 nm | SR | Gröbner and Kouremeti (2019)
UV-B irradiance | Brewer/EuBrewNet | BRFAA | 290–315 nm | Spectrophotometer | Garane et al. (2006)
Global horizontal irradiance, diffuse horizontal irradiance | Kipp & Zonen/ NOA network | ASNOA | 285–2800 nm | Pyranometer | WMO (2021)
Near-infrared irradiance | PSR/NOA network, Kipp & Zonen/ NOA network | ASNOA | 700–3000 nm | SR, Pyranometer | Gröbner and Kouremeti (2019), WMO (2021)
Erythemal irradiance | Brewer/EUBrewet, PSR/NOA network | BRFAA, ASNOA | 300–400 nm | Spectrophotometer, SR | Kerr (2010), Gröbner and Kouremeti (2019)
Vitamin D dose | Brewer/EuBrewNet, PSR/NOA network | BRFAA, ASNOA | 300–400 nm | Spectrophotometer, SR | Kerr (2010), Gröbner and Kouremeti (2019)