## Worksheet 1
Variables | Instruments | Measurement | Accuracy
heights (m)
Air temperature and | Thermohygrometer (CS215, Rotronic | 1.5, 36.3, 40.2, | Temperature: 0.3 ∘C (at 25 ∘C),
relative humidity | Measurement Solutions, UK) | 55.3 | 0.4 ∘C (5 to 40 ∘C); relative
humidity: 4 % (0 %–100 %
range), 2 % (10 %–90 % range) at 25 ∘C
Wind speed and direction | 2D sonic anemometer (WindSonic, | 43.1*, 50.8, 66.0, | Wind speed uncertainty: 2 % at
| Gill Instruments Ltd., UK) | 73.7 | 12 m s−1
Turbulent sensible and | Wind, temperature – 2014–2017: 3D | 82 | WindMaster – wind speed:
latent heat flux | sonic anemometer (WindMaster, Gill |  | rms at 12 m s−1
| Instruments Ltd., UK); |  | CSAT3: wind speed
| 2017–2018: 3D sonic anemometer |  | vector within ±5∘ of horizontal)
| (CSAT3, Campbell Scientific Inc., |  | temperature: 0.01 K
| USA) |  | H2O content:
Humidity – infrared gas analyzer
(IRGA LI-7500A, LI-COR Inc., USA)
Precipitation | Rain gauge (TB4, Hydrological | 81.3 | Rainfall per tip: 0.254 mm;
| Services Pty. Ltd., Australia) |  | uncertainty: 2 % (
3 % (250–500 mm h−1)
Atmospheric pressure | Barometer (PTB101B, Vaisala, | 81 | 0.5 hPa at 20 ∘C; 1.5 hPa (0–40 ∘C)
Finland)
Shortwave radiation | Pyranometer (CMP21, Kipp & Zonen, | 75.6 | Expected daily uncertainty
the Netherlands)
Longwave radiation | Pyrgeometer (CGR4, Kipp & Zonen, | 75.6 | Uncertainty
the Netherlands)
Soil water content | Water content reflectometer (CS615, | −0.1, −0.2, −0.3, | 2 % manufacturers standard
| Campbell Scientific Inc., USA) | −0.4, −0.6, −1.0 | calibration
Soil temperature | Thermistor (108, Campbell Scientific | −0.1, −0.2, −0.4 | 0.2 K
Inc., USA)