## Worksheet 1
Instrument | Make and/or model | Measurement | Time period (mm/yyyy)
Condensation nuclei counter (CNC) | TSI 3760 | Aerosol number concentration (N) Size range particle diameter > 14 nm | 04/2002–06/2017
Nephelometer1,2 | TSI 3563 | Aerosol light scattering (σsp) and backwards (σbsp) at three wavelengths (450, 550, and 700 nm) | 04/2002–06/2017
Particle soot absorption photometer (PSAP)1,2 | Radiance Research | Aerosol light absorption (σap) at 565 nm (reported at 550 nm) | 04/2002–10/2005
Particle soot absorption photometer (PSAP)1,2 | Radiance Research | Aerosol light absorption (σap) at three wavelengths (467, 530, and 660 nm) | 10/2005–06/2013
Continuous light absorp- tion photometer (CLAP)1,2 | NOAA/GML | Aerosol light absorption (σap) at three wavelengths (467, 528, and 652 nm) | 12/2011–06/2017
Anemometer | RM Young | Wind data (direction and speed) at 10 m | 09/2007–06/2017
Resistance temperature detector (RTD) | Logan 4150 in aspirated enclosure | Ambient temperature at 2 and 10 m | 09/2007–06/2017
Relative humidity probe3 | RM Young 41382 in aspirated enclosure | Ambient relative humidity at 2 m | 08/2013–06/2017
Barometer | Setra 270 | Ambient pressure | 09/2007–06/2017
Chemical filters | NOAA/PMEL | Common aerosol ions, including SO4-2, NH4+, Cl−, Br−, Na+, K+, Ca+, Mg+, NO3−, MSA−, and oxalate | 04/2002–05/2006