## Worksheet 1
Measurement | Instrumentation | Sampling rate
aerosol optical depth | multifilter rotating shadowband radiometer (MFRSR) at 415, 500, 615, 673, and 870 nm | 20 s
aerosol number concentration | ultrafine (> 3 nm) and fine (> 10 nm) condensation particle counters (CPCs) | 1 s
aerosol chemical composition | aerosol chemical speciation monitor (ACSM), single-particle soot photometer (SP2) | ∼ 30 min, ∼ 1 min
aerosol size distribution | ultrahigh-sensitivity aerosol spectrometer (UHSAS), scanning mobility particle sizer (SMPS), best-estimate aerosol size distribution (BEASD) | 1 s, 64 s interpolated to 1 s 1 s
cloud condensation nuclei (CCN) concentration | dual-column CCN counter (0.1 %, 0.2 %, 0.4 %, 0.6 %, 0.8 %, 1 % supersaturation) | 1 s
trace gas concentrations | O3, CO monitoring systems | 1 s