## Worksheet 1
Instrument | Measured parameter | Sampling frequency | Institution
in charge
Ultrasonic wind sensor Windsonic, Gill Instruments | Wind | 15 min | Atmo-Réunion
Humidity and temperature sensor EE210, | Temperature, | 15 min | Atmo-Réunion
E+E Elektronik GmbH | relative humidity
CO analyzer T300, Teledyne API | Mixing ratio of CO | 15 min | Atmo-Réunion
Ozone analyzer O342M, Environnement SA | Mixing ratio of O3 | 15 min | Atmo-Réunion
NO/NO2/NOx analyzer T200, Teledyne API | Mixing ratio of NO, NO2 and NOx | 15 min | Atmo-Réunion
SO2 analyzer 43i, Thermo Fisher Scientific Inc. | Mixing ratio of SO2 | 15 min | Atmo-Réunion
PTR-QMS, Ionicon Analytik GmbH | Mixing ratio of COV | 1 min | LSCE
Aerolaser AL4021, Aero-Laser GmbH | Mixing ratio of HCHO | 1 min | LaMP
28 March–April
Condensation particle counter MAGIC CPC, | Number concentrations of particles | 10 s | Atmo-Réunion
Aerosol Devices Inc. | with diameters from 5 nm to 2.5 µm
High-volume sampler (Hi-VOL) Digitel DA80, | PM10 mass chemical concentration | Day and night | IGE
Megatec – filter | and bacterial diversity | 10–12 h
PQS1 radiometer, Kipp & Zonen | Photosynthetically active | 15 min | CNRM
radiation (PAR)
Ceilometer CT25K, Vaisala | Cloud base height | 1 min | LACy
| Backscatter profile | 1 min