## Worksheet 1
Instrument | Measured parameter | Sampling | Institution
|  | frequency | in charge
Condensation particle counter CPC3788, TSI | Total number concentration of aerosols | 1 s | CNRM
with diameters from 2.5 nm to 2.5 µm
Scanning mobility particle sizer SMP3080, TSI | Size spectrum of aerosols with diameters | 3 min | CNRM
from 10 to 500 nm
Optical particle sizer OPC3330, TSI | Size spectrum of aerosols with diameters | 5 min | CNRM
from 0.3 to 10 µm
CCNC, Droplet Measurement | Number concentration of CCN at | 5 min for each | CNRM
Technologies | S= 0.1 %, 0.2 % and 0.3 % | supersaturation
Fog monitor, Droplet Measurement | Size spectrum of droplets with diameters | 1 s | CNRM
Technologies | from 2 to 50 µm
Present weather detector PWD22, Vaisala | Visibility | 15 s | CNRM
| Rain | 15 s
| Luminance | 15 s
MARLEY lidar | Backscatter profile | 1 min | LACy
Ceilometer CS135, Campbell Scientific | Cloud base height | 10 s | LACy
| Backscatter profile | 10 s
Tethered balloon
Optical particle counter (OPC), MetOne | Size spectrum of aerosols with diameters | 6 s | CNRM
from 0.5 to 10 µm
Cloud droplet probe (CDP), Droplet | Size spectrum of droplets with diameters | 1 s | CNRM
Measurement Technologies | from 2 to 50 µm
Sonic anemometer | Wind | 20 Hz | CNRM
| Temperature | 20 Hz
| Relative humidity | 20 Hz