## Worksheet 1
Instrument | Measured parameter | Sampling | Institution
|  | frequency | in charge
Fourier transform infrared | Wind, temperature | 1 min | OPAR/BIRA-IASB
(FTIR) spectroscope | Pressure, relative humidity
CO analyzer Horiba | Mixing ratio of CO | 1 min | OPAR
O3 analyzer TEI49i, Thermo Fisher Scientific Inc. | Mixing ratio of O3 | 1 min | OPAR
NOx analyzer, Environnement SA AC31M | Mixing ratio of NOx, NO and NO2 | 1 min | OPAR
SO2 analyzer T421, Thermo Fisher Scientific Inc. | Mixing ratio of SO2 | 1 min | OPAR
Condensation particle counter CPC3776, TSI | Number concentration of particles | 10 s | OPAR
with diameters from 25 nm to 1 µm
Custom-made differential mobility | Size spectrum of aerosols with | 8 min | OPAR/LaMP
particle sizer with a condensation | diameters from 13.7 to 650 nm,
particle counter CPC3100, TSI | 14 size classes
Aerosol chemical speciation monitor | Chemical composition of NR-PM1 | 10 min | LaMP
ToF-ACSM, Aerodyne Research Inc.
High-volume sampler (Hi-VOL) | PM10 mass chemical concentration | Day and night | IGE
Digitel DA80, Megatec – filter | and biological composition | 10–12 h
PTR-MS, Ionicon Analytik GmbH | Mixing ratio of VOCs | 2.7 min | BIRA-IASB
Aerolaser AL4021, Aero-Laser GmbH | Mixing ratio of HCHO | 1 min | LaMP
13–27 March
Fog monitor, Droplet Measurement | Size spectrum of droplets with | 1 s | CNRM
Technologies | diameters from 2 to 50 µm
Present weather detector PWD22, Vaisala | Visibility | 15 s | CNRM
| Rain | 15 s
| Luminance | 15 s