## Worksheet 1
Flag | Description
0 | Measurement is missing (i.e. NaN).
1 | Value is infinite – occurs when data values are outside of the range that float32 data type can handle (-3.4×1038 to +3.4×1038).
2 | Measurement is negative in absolute terms.
6 | Measurements are associated with data quality flags given by the data provider which have been decreed by the GHOST project architects as being associated with substantial uncertainty/bias.
8 | After screening by key QA flags, no valid data remain to average in the temporal window.
20 | The primary sampling is not appropriate to prepare the specific parameter for subsequent measurement.
21 | The sample preparation is not appropriate to prepare the specific parameter for subsequent measurement.
22 | The measurement methodology used is not known to be able to measure the specific parameter.
72 | Measurement is below or equal to the preferential lower limit of detection.
75 | Measurement is above or equal to the preferential upper limit of detection.
82 | The preferential resolution for the measurement is coarser than a set limit (variable by measured parameter).
83 | The resolution of the measurement is analysed month by month. If the minimum difference between observations is coarser than a set limit (variable by measured parameter), measurements are flagged.
110 | The measured value is below or greater than scientifically feasible lower/upper limits (variable by parameter).
111 | The median of the measurements in a month is greater than a scientifically feasible limit (variable by parameter).
112 | Data have been reported to be an outlier through data flags by the network data reporters (and not manually checked and verified as valid).
113 | Data have been found and decreed manually to be an outlier.
132 | 4 out of 6 months' distributions are classed as zone 6 or higher, suggesting there are potentially systematic reasons for the inconsistent distributions across the 6 months.
133 | 8 out of 12 months' distributions are classed as zone 6 or higher, suggesting there are potentially systematic reasons for the inconsistent distributions across the 12 months.