## Worksheet 1
Instrument | Measured | Size range | Time | E-PEACE | NiCE | BOAS | FASE | MACAWS | CSM
| variable |  | resolution
TSI ultrafine condensation particle counter (CPC) 3025 | Na>3 nm | > 0.003 µm | 1 s | × | × | × | × | × | ×
TSI condensation particlecounter (CPC) 3010 | Na>10 nm | > 0.01 µm | 1 s | × | × | × | × | × | ×
PMS/DMT passive cavityaerosol spectrometer probe(PCASP) | Na0.1–1 µm, Na>1 µm | ∼ 0.1–3.4 µm | 1 s | × | × | × | × | × | ×
DMT cloud and aerosol spectrometer-forward scattering(CASF) | Nd | ∼ 0.6–60 µm | 1 s | × | × |  | × | × | ×
PMS/DMT forward-scattering spectrometer probe (FSSP) | Nd | 1–46 µm | 1 s |  | × | × | × | ×
ARI aerosol mass spectrometer (AMS) | Speciated mass conc. | ∼ 60–600 nm |  | × | × | ×
Mohnen cloud water collec- tor – pH, IC, ICPMS | pH, air- equivalent mass conc. | n/a | ∼ 5–60 min | × | × | × | × | ×