## Worksheet 1
Instrument | Species/parameter | Measurement | Measurement technique | Reference
frequency
Aerodyne QCLS | CH4, C2H6, 13CH4, H2O | 0.5 s | Laser absorption spectroscopy | Kostinek et al. (2019)
Picarro G2401m | CH4, CO2, H2O | 2 s | Cavity ring-down spectroscopy | Dischl et al. (2024),
Harlass et al. (2024)
IT-CIMS | SO2 | 1 s | Ion-trap chemical ionization | Speidel et al. (2007)
mass spectrometry
Thermo SO2 | SO2 | 1 s | Pulsed fluorescence analyzer | Luke (1997)
ECO Physics TR | NO + NOy | 1 s | Chemiluminescence Technique | Harlass et al. (2024)
Aerosol | vol. and non-vol. particles | 1 s | Condensation Particle Counters | Feldpausch et al. (2006),
|  |  | and Thermodenuder | Dischl et al. (2024)
MET package | 3D-wind, temperature, humidity | 10–100 Hz | 5-hole pressure probe, PT100, | Fimpel (1991),
|  |  | dew point and Lyman-α | Bramberger et al. (2017)