## Worksheet 1
Data type | Data | Data description | Instrument/technique
Meteorology | T | Temperature | Vaisala WXT510
| RH | Relative humidity | Vaisala WXT511
| P | Pressure | Vaisala WXT512
| WS | Wind speed | Vaisala WXT513
| WD | Wind direction | Vaisala WXT514
Gas | O3 | O3 concentration | UV absorption
| SO2 | SO2 concentration | Thermo Fisher Scientific model 43i
| NO | NO concentration | Chemiluminescence
| NO2 | NO2 concentration | Photolytic conversion CU GMAX-DOAS
BC | MBC | BC mass concentration | Single-particle soot photometer (SP2)
Optical properties | babs | Absorption coefficient | Photoacoustic spectroscopy (PAS)