## Worksheet 1
|  |  | Vertical |  | Temporal
Instruments | Measured variable | Unit | position | Uncertainty | resolution
PT100 | Temperature | °C | 2 m | 0.5 °C | 60 s
Young wind monitor | Wind speed | m s−1 | 10 m | 0.3 m s−1 | 60 s
| Wind direction | ° | 10 m | 3° | 60 s
Kipp & Zonen spectrometer | Downward/upward longwave radiation | W m−2 | 1 m | 10 % | 60 s
METEK sonic anemometer | Turbulent kinetic energy (TKE) | m2 s−2 | 3 m | 20 % | 30 min
Young visibility sensor | Horizontal visibility | m | 3 m | 10 % | 60 s
Vaisala PWD22 | Horizontal visibility | m | 3 m | 15 % | 15 s
BASTA cloud radar | Reflectivity (Z) | dBZ |  | 0.5–2 dBZ1 | 3 s
| Cloud top height (CTH) | m |  | 12.5 m | 3 s
CT25K ceilometer | Cloud base height (CBH) | m |  | 2 % | 15 s
HATPRO radiometer | Temperature | K |  | 1.5 K RMSE2 | 10 min
| Liquid water path (LWP) | g m−2 |  | 20 g m−2 | 1 s
XSENS sensor | Altitude (Z) | m |  | 5 m | 10 s
Rotronic sensor | Temperature | °C |  | 0.1 K | 10 s
Gill anemometer | Wind speed | m s−1 |  | 1.5 % | 10 s
Cloud droplet probe (CDP) | Liquid water content (LWC) | g m−3 |  | 30 %3 | 1 s
Vaisala RS41-SGP | Temperature | °C |  | 0.3 °C | 1 s