## Worksheet
Onboard location | Instrument | Temporal resolution | Function
Aerosol container laboratory | HINC | 20 min | INP measurement (online)
(2nd deck) | Impinger | 3 h | Aerosol collection in water for offline INP analysis
| SMPS | 4 min | Particle size distribution (0.012–0.6 µm)
| APS | 4 min | Particle size distribution (0.5–20 µm)
| CPC | 1 s | Particle total number concentration
Top (6th) deck | LVS with PM10 inlet | 12 h | Aerosol collection on filters for offline INP analysis