## Worksheet
Instrument | Manufacturer | Measured Property and DOI
iMet RSB-1 and RSB-4 radiosondes | InterMet Systems | Pressure, temperature, relative humidity, 3D GPS https://doi.org/10.5439/1530482 (Cromwell et al., 2025a)
iMet XQ2 UAV Sensor | InterMet Systems | Pressure, temperature, relative humidity, 3D GPS https://doi.org/10.5439/1483632 (Cromwell et al., 2025b)
40C cup anemometers | NRG Systems | 1 Hz horizontal wind speed https://doi.org/10.5439/1515075 (Cromwell et al., 2025c)
GNSS wind direction | VectorNav Technologies | 1 Hz wind direction, https://doi.org/10.5439/1515075 (Cromwell et al., 2025c)
Portable Optical Particle Spectrometer (POPS) | Handix Scientific Inc. | Aerosol size distribution from 135 to 3000 nm, https://doi.org/10.5439/1827703 (Mei et al., 2025b)
Condensation Particle Counter (CPC) Model 3007 | TSI | Total aerosol concentration from 10 to 1000 nm, https://doi.org/10.5439/1582131 (Mei et al., 2025c)
Size- and Time-Resolved Aerosol Collector (STAC) | PNNL | Size- and time-resolved chemical composition from 70 to 2300 nm (only available by request)