## Worksheet
Instrument | Measured Property
Vaisala automatic weather station | Surface wind speed, wind direction, air temperature, relative humidity, air pressure (recorded at 1 min time resolution), https://doi.org/10.5439/1786358 (Kyrouac et al., 2025)
Aerosol Chemical Speciation Monitor (ACSM) | Chemical compositions of aerosol particles (recorded at 10 min time resolution), https://doi.org/10.5439/1763029 (Zawadowicz et al., 2025)
Scanning Mobility Particle Sizer (SMPS) | Aerosol size distribution from 10–500 nm (recorded at 5 min time resolution), (Only available by request)
Condensation Particle Counter (CPC) | Total particle number concentration from 10 to 1000 nm, (recorded at 1 min time resolution) (Only available by request)