## Worksheet 1
| Manufacturer/Instrument | Parameters | Acronym | Unit | Time
Resolution
Lulin Weather System | MetOne, T200 | Temperature | T | °C | 1 min
| MetOne, 092 | Pressure | P | hPa
| MetOne, 083D | Relative Humidity | RH | –
| MetOne, 034B | Wind Speed | WS | m s−1
|  | Wind Direction | WD | degree
| VAISALA, PWD22 | Visibility | – | km
| MetOne, 370 | Rainfall Intensity | – | mm h−1 | 1 h
Lulin Aerosol System (PM10 | GMD, CLAP | Absorption Coefficient | – | Mm−1 | 1 h
data was used in this study.) | TSI 3563, Nephelometer | Scattering Coefficient | – | Mm−1
| – | Absorption Ångström Exponent | AAE | –
| – | Scattering Ångström Exponent | SAE | –
| – | Single Scattering Albedo | SSA | –
Aerosol-Cloud Microphysics Monitoring System | DMT, CDP | Cloud Droplet Number Concentration | Nd | cm−3 | 1 min
|  | Cloud Number Size Distribution | CSD | cm−3
|  | Effective Diameter | ED | µm
|  | Liquid Water Content | LWC | g m−3
| GRIMM, 11-D | Aerosol Number Concentration | Na | cm−3 | 1 min
|  | Aerosol Number Size Distribution | ASD | cm−3
|  | PM2.5 | – | µg m−3