## Worksheet
Instrument | Measured variables | Time
resolution
MoLa (Drewnick et al., 2012)
AMSa | Chemical composition of non-refractory particles | 30 s
Ceilometerb | Altitude-dependent backscatter signal intensity | 30 s
CPCc | Particle number concentration | 1 s
EDMd | Particulate matter PM1 | 6 s
FMPSe | Particle size distribution based on electrical mobility diameter | 1 s
Meteorological stationf | Wind direction, wind speed, relative humidity, temperature, rain intensity, pressure | 1 s
NOx-monitorg | Mixing ratio of NOx | 5 s
OPCh | Particle size distribution based on optical diameter | 6 s
O3-monitori | Mixing ratio of O3 | 2 s
Pyranometerj | Solar irradiance | 1 s
Eddy covariance measurement station
Ultra-sonic anemometerk | 3D wind direction, humidity, temperature | 0.05 s
FLab (Moormann et al., 2025)
Anemometerl | Horizontal wind speed and direction; temperature; relative humidity; pressure | 1 s
CPCm | Particle number concentration | 1 s
OPCn | Particle size distribution based on optical diameter; temperature; relative humidity | 1 s
O3-monitoro | Mixing ratio of O3 | 2 s
drone: Matrice 600p | 3D orientation; 3D flight velocity; GPS position; wind speed and direction; altitude based on pressure level and GPS; propeller rotation rate; various internal data | ≤1 s
Radiosonde
Radiosondeq | Wind speed and direction; temperature; relative humidity; pressure | 1 s